## Monitor
No | Scope | Property | Type | Option | Title | Pre-Condition | Test steps | Test Data | Expected result | Status | Actual result | Note | Screenshot
TC_01 | Device Information | FirmwareVersion |  |  | Verify FirmwareVersion value while looking at device Management portal | Added device to Symphony | 1. Login Symphony 2. Go to Middle Atlantic device under test 3. Go to Extended properties tab of the device 4. Check the FirmwareVersion value 5. Open web UI of Middle Atlantic on another browser 6. Go to Device page 7. Verify the result |  | The FirmwareVersion shown on Live monitoring tab will be correct | Un-test
TC_02 | Device Information | NumberOfOutlets |  |  | Verify NumberOfOutlets value while looking at device Management portal | Added device to Symphony | 1. Login Symphony 2. Go to Middle Atlantic device under test 3. Go to Extended properties tab of the device 4. Check the NumberOfOutlets value 5. Open web UI of Middle Atlantic on another browser 6. Go to Device page 7. Verify the result |  | The NumberOfOutlets shown on Live monitoring tab will be correct | Un-test
TC_03 | Device Information | SerialNumber |  |  | Verify SerialNumber value while looking at device Management portal | Added device to Symphony | 1. Login Symphony 2. Go to Middle Atlantic device under test 3. Go to Extended properties tab of the device 4. Check the SerialNumber value 5. Open web UI of Middle Atlantic on another browser 6. Go to Device page 7. Verify the result |  | The SerialNumber shown on Live monitoring tab will be correct | Un-test
TC_04 | Input Status | Current(A) |  |  | Verify Current(A) value while looking at device Management portal | Added device to Symphony | 1. Login Symphony 2. Go to Middle Atlantic device under test 3. Go to Extended properties tab of the device 4. Check the Current(A) value 5. Open web UI of Middle Atlantic on another browser 6. Go to Device page 7. Verify the result |  | The Current(A) shown on Live monitoring tab will be correct | Un-test
TC_05 | Input Status | Frequency(Hz) |  |  | Verify Frequency(Hz) value while looking at device Management portal | Added device to Symphony | 1. Login Symphony 2. Go to Middle Atlantic device under test 3. Go to Extended properties tab of the device 4. Check the Frequency(Hz) value 5. Open web UI of Middle Atlantic on another browser 6. Go to Device page 7. Verify the result |  | The Frequency(Hz) shown on Live monitoring tab will be correct | Un-test
TC_06 | Input Status | PhaseCount |  |  | Verify PhaseCount value while looking at device Management portal | Added device to Symphony | 1. Login Symphony 2. Go to Middle Atlantic device under test 3. Go to Extended properties tab of the device 4. Check the PhaseCount value 5. Open web UI of Middle Atlantic on another browser 6. Go to Device page 7. Verify the result |  | The PhaseCount shown on Live monitoring tab will be correct | Un-test
TC_07 | Input Status | Voltage(V) |  |  | Verify Voltage(V) value while looking at device Management portal | Added device to Symphony | 1. Login Symphony 2. Go to Middle Atlantic device under test 3. Go to Extended properties tab of the device 4. Check the Voltage(V) value 5. Open web UI of Middle Atlantic on another browser 6. Go to Device page 7. Verify the result |  | The Voltage(V) shown on Live monitoring tab will be correct | Un-test
TC_08 | Output Status | Current(A) |  |  | Verify Current(A) value while looking at device Management portal | Added device to Symphony | 1. Login Symphony 2. Go to Middle Atlantic device under test 3. Go to Extended properties tab of the device 4. Check the Current(A) value 5. Open web UI of Middle Atlantic on another browser 6. Go to Device page 7. Verify the result |  | The Current(A) shown on Live monitoring tab will be correct | Un-test
TC_09 | Output Status | Frequency(Hz) |  |  | Verify Frequency(Hz) value while looking at device Management portal | Added device to Symphony | 1. Login Symphony 2. Go to Middle Atlantic device under test 3. Go to Extended properties tab of the device 4. Check the Frequency(Hz) value 5. Open web UI of Middle Atlantic on another browser 6. Go to Device page 7. Verify the result |  | The Frequency(Hz) shown on Live monitoring tab will be correct | Un-test
TC_10 | Output Status | Load(%) |  |  | Verify Load(%) value while looking at device Management portal | Added device to Symphony | 1. Login Symphony 2. Go to Middle Atlantic device under test 3. Go to Extended properties tab of the device 4. Check the Load(%) value 5. Open web UI of Middle Atlantic on another browser 6. Go to Device page 7. Verify the result |  | The Load(%) shown on Live monitoring tab will be correct | Un-test
TC_11 | Output Status | PhaseCount |  |  | Verify PhaseCount value while looking at device Management portal | Added device to Symphony | 1. Login Symphony 2. Go to Middle Atlantic device under test 3. Go to Extended properties tab of the device 4. Check the PhaseCount value 5. Open web UI of Middle Atlantic on another browser 6. Go to Device page 7. Verify the result |  | The PhaseCount shown on Live monitoring tab will be correct | Un-test
TC_12 | Output Status | Power(W) |  |  | Verify Power(W) value while looking at device Management portal | Added device to Symphony | 1. Login Symphony 2. Go to Middle Atlantic device under test 3. Go to Extended properties tab of the device 4. Check the Power(W) value 5. Open web UI of Middle Atlantic on another browser 6. Go to Device page 7. Verify the result |  | The Power(W) shown on Live monitoring tab will be correct | Un-test
TC_13 | Output Status | Source |  |  | Verify Source value while looking at device Management portal | Added device to Symphony | 1. Login Symphony 2. Go to Middle Atlantic device under test 3. Go to Extended properties tab of the device 4. Check the Source value 5. Open web UI of Middle Atlantic on another browser 6. Go to Device page 7. Verify the result |  | The Source shown on Live monitoring tab will be correct | Un-test
TC_14 | Output Status | Voltage(V) |  |  | Verify Voltage(V) value while looking at device Management portal | Added device to Symphony | 1. Login Symphony 2. Go to Middle Atlantic device under test 3. Go to Extended properties tab of the device 4. Check the Voltage(V) value 5. Open web UI of Middle Atlantic on another browser 6. Go to Device page 7. Verify the result |  | The Voltage(V) shown on Live monitoring tab will be correct | Un-test
TC_15 | Battery Status | Capacity(%) |  |  | Verify Capacity(%) value while looking at device Management portal | Added device to Symphony | 1. Login Symphony 2. Go to Middle Atlantic device under test 3. Go to Extended properties tab of the device 4. Check the Capacity(%) value 5. Open web UI of Middle Atlantic on another browser 6. Go to Device page 7. Verify the result |  | The Capacity(%) shown on Live monitoring tab will be correct | Un-test
TC_17 | Battery Status | Charge |  |  | Verify Charge value while looking at device Management portal | Added device to Symphony | 1. Login Symphony 2. Go to Middle Atlantic device under test 3. Go to Extended properties tab of the device 4. Check the Charge value 5. Open web UI of Middle Atlantic on another browser 6. Go to Device page 7. Verify the result |  | The Charge shown on Live monitoring tab will be correct | Un-test
TC_19 | Battery Status | Condition |  |  | Verify Condition value while looking at device Management portal | Added device to Symphony | 1. Login Symphony 2. Go to Middle Atlantic device under test 3. Go to Extended properties tab of the device 4. Check the Condition value 5. Open web UI of Middle Atlantic on another browser 6. Go to Device page 7. Verify the result |  | The Condition shown on Live monitoring tab will be correct | Un-test
TC_21 | Battery Status | ExternalBatteryPackCount |  |  | Verify ExternalBatteryPackCount value while looking at device Management portal | Added device to Symphony | 1. Login Symphony 2. Go to Middle Atlantic device under test 3. Go to Extended properties tab of the device 4. Check the ExternalBatteryPackCount value 5. Open web UI of Middle Atlantic on another browser 6. Go to Device page 7. Verify the result |  | The ExternalBatteryPackCount shown on Live monitoring tab will be correct | Un-test
TC_23 | Battery Status | LastReplacementDate(MM/DD/YYYY) | text |  | Verify LastReplacementDate(MM/DD/YYYY) value while looking at device Management portal | Added device to Symphony | 1. Login Symphony 2. Go to Middle Atlantic device under test 3. Go to Extended properties tab of the device 4. Check the LastReplacementDate(MM/DD/YYYY) value 5. Open web UI of Middle Atlantic on another browser 6. Go to Device page 7. Verify the result |  | The LastReplacementDate(MM/DD/YYYY) shown on Live monitoring tab will be correct | Un-test
TC_25 | Battery Status | LastSelfTestResults |  |  | Verify LastSelfTestResults value while looking at device Management portal | Added device to Symphony | 1. Login Symphony 2. Go to Middle Atlantic device under test 3. Go to Extended properties tab of the device 4. Check the LastSelfTestResults value 5. Open web UI of Middle Atlantic on another browser 6. Go to Device page 7. Verify the result |  | The LastSelfTestResults shown on Live monitoring tab will be correct | Un-test
TC_27 | Battery Status | LowLimit(%) |  |  | Verify LowLimit(%) value while looking at device Management portal | Added device to Symphony | 1. Login Symphony 2. Go to Middle Atlantic device under test 3. Go to Extended properties tab of the device 4. Check the LowLimit(%) value 5. Open web UI of Middle Atlantic on another browser 6. Go to Device page 7. Verify the result |  | The LowLimit(%) shown on Live monitoring tab will be correct | Un-test
TC_29 | Battery Status | NextReplacementDate(MM/DD/YYYY) | text |  | Verify NextReplacementDate(MM/DD/YYYY) value while looking at device Management portal | Added device to Symphony | 1. Login Symphony 2. Go to Middle Atlantic device under test 3. Go to Extended properties tab of the device 4. Check the NextReplacementDate(MM/DD/YYYY) value 5. Open web UI of Middle Atlantic on another browser 6. Go to Device page 7. Verify the result |  | The NextReplacementDate(MM/DD/YYYY) shown on Live monitoring tab will be correct | Un-test
TC_31 | Battery Status | OnBatteryTime(second) |  |  | Verify OnBatteryTime(second) value while looking at device Management portal | Added device to Symphony | 1. Login Symphony 2. Go to Middle Atlantic device under test 3. Go to Extended properties tab of the device 4. Check the OnBatteryTime(second) value 5. Open web UI of Middle Atlantic on another browser 6. Go to Device page 7. Verify the result |  | The OnBatteryTime(second) shown on Live monitoring tab will be correct | Un-test
TC_33 | Battery Status | RemainingTime |  |  | Verify RemainingTime value while looking at device Management portal | Added device to Symphony | 1. Login Symphony 2. Go to Middle Atlantic device under test 3. Go to Extended properties tab of the device 4. Check the RemainingTime value 5. Open web UI of Middle Atlantic on another browser 6. Go to Device page 7. Verify the result |  | The RemainingTime shown on Live monitoring tab will be correct | Un-test
TC_35 | Battery Status | Status |  |  | Verify Status value while looking at device Management portal | Added device to Symphony | 1. Login Symphony 2. Go to Middle Atlantic device under test 3. Go to Extended properties tab of the device 4. Check the Status value 5. Open web UI of Middle Atlantic on another browser 6. Go to Device page 7. Verify the result |  | The Status shown on Live monitoring tab will be correct | Un-test
TC_37 | Battery Status | Temperature(C) |  |  | Verify Temperature(C) value while looking at device Management portal | Added device to Symphony | 1. Login Symphony 2. Go to Middle Atlantic device under test 3. Go to Extended properties tab of the device 4. Check the Temperature(C) value 5. Open web UI of Middle Atlantic on another browser 6. Go to Device page 7. Verify the result |  | The Temperature(C) shown on Live monitoring tab will be correct | Un-test
TC_39 | Battery Status | Voltage(V) |  |  | Verify Voltage(V) value while looking at device Management portal | Added device to Symphony | 1. Login Symphony 2. Go to Middle Atlantic device under test 3. Go to Extended properties tab of the device 4. Check the Voltage(V) value 5. Open web UI of Middle Atlantic on another browser 6. Go to Device page 7. Verify the result |  | The Voltage(V) shown on Live monitoring tab will be correct | Un-test
TC_40 | Outlet Control | CycleOutlet1 | button |  | Verify CycleOutlet1 value while looking at device Management portal | Added device to Symphony | 1. Login Symphony 2. Go to Middle Atlantic device under test 3. Go to Extended properties tab of the device 4. Check the CycleOutlet1 value 5. Open web UI of Middle Atlantic on another browser 6. Go to Device page 7. Verify the result |  | The CycleOutlet1 should be a button | Un-test
TC_42 | Outlet Control | CycleOutlet2 | button |  | Verify CycleOutlet2 value while looking at device Management portal | Added device to Symphony | 1. Login Symphony 2. Go to Middle Atlantic device under test 3. Go to Extended properties tab of the device 4. Check the CycleOutlet2 value 5. Open web UI of Middle Atlantic on another browser 6. Go to Device page 7. Verify the result |  | The CycleOutlet2 should be a button | Un-test
TC_44 | Outlet Control | CycleOutlet3 | button |  | Verify CycleOutlet3 value while looking at device Management portal | Added device to Symphony | 1. Login Symphony 2. Go to Middle Atlantic device under test 3. Go to Extended properties tab of the device 4. Check the CycleOutlet3 value 5. Open web UI of Middle Atlantic on another browser 6. Go to Device page 7. Verify the result |  | The CycleOutlet3 should be a button | Un-test
TC_46 | Outlet Control | CycleOutlet4 | button |  | Verify CycleOutlet4 value while looking at device Management portal | Added device to Symphony | 1. Login Symphony 2. Go to Middle Atlantic device under test 3. Go to Extended properties tab of the device 4. Check the CycleOutlet4 value 5. Open web UI of Middle Atlantic on another browser 6. Go to Device page 7. Verify the result |  | The CycleOutlet4 should be a button | Un-test
TC_48 | Outlet Control | CycleOutlet5 | button |  | Verify CycleOutlet5 value while looking at device Management portal | Added device to Symphony | 1. Login Symphony 2. Go to Middle Atlantic device under test 3. Go to Extended properties tab of the device 4. Check the CycleOutlet5 value 5. Open web UI of Middle Atlantic on another browser 6. Go to Device page 7. Verify the result |  | The CycleOutlet5 should be a button | Un-test
TC_50 | Outlet Control | CycleOutlet6 | button |  | Verify CycleOutlet6 value while looking at device Management portal | Added device to Symphony | 1. Login Symphony 2. Go to Middle Atlantic device under test 3. Go to Extended properties tab of the device 4. Check the CycleOutlet6 value 5. Open web UI of Middle Atlantic on another browser 6. Go to Device page 7. Verify the result |  | The CycleOutlet6 should be a button | Un-test
TC_52 | Outlet Control | CycleOutlet7 | button |  | Verify CycleOutlet7 value while looking at device Management portal | Added device to Symphony | 1. Login Symphony 2. Go to Middle Atlantic device under test 3. Go to Extended properties tab of the device 4. Check the CycleOutlet7 value 5. Open web UI of Middle Atlantic on another browser 6. Go to Device page 7. Verify the result |  | The CycleOutlet7 should be a button | Un-test
TC_54 | Outlet Control | CycleOutlet8 | button |  | Verify CycleOutlet8 value while looking at device Management portal | Added device to Symphony | 1. Login Symphony 2. Go to Middle Atlantic device under test 3. Go to Extended properties tab of the device 4. Check the CycleOutlet8 value 5. Open web UI of Middle Atlantic on another browser 6. Go to Device page 7. Verify the result |  | The CycleOutlet8 should be a button | Un-test
TC_56 | Outlet Control | Outlet1 | switch button |  | Verify Outlet1 value while looking at device Management portal | Added device to Symphony | 1. Login Symphony 2. Go to Middle Atlantic device under test 3. Go to Extended properties tab of the device 4. Check the Outlet1 value 5. Open web UI of Middle Atlantic on another browser 6. Go to Device page 7. Verify the result |  | The Outlet1 is a switch button shown on Live Monitoring matches the Outlet1 shown on the device web page. | Un-test
TC_58 | Outlet Control | Outlet2 | switch button |  | Verify Outlet2 value while looking at device Management portal | Added device to Symphony | 1. Login Symphony 2. Go to Middle Atlantic device under test 3. Go to Extended properties tab of the device 4. Check the Outlet2 value 5. Open web UI of Middle Atlantic on another browser 6. Go to Device page 7. Verify the result |  | The Outlet2 is a switch button shown on Live Monitoring matches the Outlet2 shown on the device web page. | Un-test
TC_60 | Outlet Control | Outlet3 | switch button |  | Verify Outlet3 value while looking at device Management portal | Added device to Symphony | 1. Login Symphony 2. Go to Middle Atlantic device under test 3. Go to Extended properties tab of the device 4. Check the Outlet3 value 5. Open web UI of Middle Atlantic on another browser 6. Go to Device page 7. Verify the result |  | The Outlet3 is a switch button shown on Live Monitoring matches the Outlet3 shown on the device web page. | Un-test
| Outlet Control | Outlet4 | switch button |  | Verify Outlet4 value while looking at device Management portal |  | 1. Login Symphony 2. Go to Middle Atlantic device under test 3. Go to Extended properties tab of the device 4. Check the Outlet4 value 5. Open web UI of Middle Atlantic on another browser 6. Go to Device page 7. Verify the result |  | The Outlet4 is a switch button shown on Live Monitoring matches the Outlet4 shown on the device web page. | Un-test
| Outlet Control | Outlet5 | switch button |  | Verify Outlet5 value while looking at device Management portal |  | 1. Login Symphony 2. Go to Middle Atlantic device under test 3. Go to Extended properties tab of the device 4. Check the Outlet5 value 5. Open web UI of Middle Atlantic on another browser 6. Go to Device page 7. Verify the result |  | The Outlet5 is a switch button shown on Live Monitoring matches the Outlet5 shown on the device web page. | Un-test
| Outlet Control | Outlet6 | switch button |  | Verify Outlet6 value while looking at device Management portal |  | 1. Login Symphony 2. Go to Middle Atlantic device under test 3. Go to Extended properties tab of the device 4. Check the Outlet6 value 5. Open web UI of Middle Atlantic on another browser 6. Go to Device page 7. Verify the result |  | The Outlet6 is a switch button shown on Live Monitoring matches the Outlet6 shown on the device web page. | Un-test
| Outlet Control | Outlet7 | switch button |  | Verify Outlet7 value while looking at device Management portal |  | 1. Login Symphony 2. Go to Middle Atlantic device under test 3. Go to Extended properties tab of the device 4. Check the Outlet7 value 5. Open web UI of Middle Atlantic on another browser 6. Go to Device page 7. Verify the result |  | The Outlet7 is a switch button shown on Live Monitoring matches the Outlet7 shown on the device web page. | Un-test
| Outlet Control | Outlet8 | switch button |  | Verify Outlet8 value while looking at device Management portal |  | 1. Login Symphony 2. Go to Middle Atlantic device under test 3. Go to Extended properties tab of the device 4. Check the Outlet8 value 5. Open web UI of Middle Atlantic on another browser 6. Go to Device page 7. Verify the result |  | The Outlet8 is a switch button shown on Live Monitoring matches the Outlet8 shown on the device web page. | Un-test

## Control
No | Scope | Property | Option | Title | Pre-Condition | Test steps | Test Data | Expected result | Status | Actual result | Note | Screenshot
TC_01 | Battery Status | LastReplacementDate(MM/DD/YYYY) | Device | Validate the user can change LastReplacementDate(MM/DD/YYYY) of Middle Atlantic from real device | Added device to Symphony | On Middle Atlantic web UI: 1. Change value of LastReplacementDate(MM/DD/YYYY) On Symphony: 2. Check the LastReplacementDate(MM/DD/YYYY) value of the device |  | The LastReplacementDate(MM/DD/YYYY) must be updated on the Symphony correctly | Un-test
TC_02 | Battery Status | LastReplacementDate(MM/DD/YYYY) | symphony | Validate the user can change LastReplacementDate(MM/DD/YYYY) of Middle Atlantic from device management | Added device to Symphony | On Symphony: 1. Go to Middle Atlantic device under test 2. Go to monitor tab of the device 3. Change value of LastReplacementDate(MM/DD/YYYY) On Middle Atlantic web UI: 4. Check the LastReplacementDate(MM/DD/YYYY) value of the device |  | The LastReplacementDate(MM/DD/YYYY) must be updated on the device correctly | Un-test
TC_03 | Battery Status | NextReplacementDate(MM/DD/YYYY) | Device | Validate the user can change NextReplacementDate(MM/DD/YYYY) of Middle Atlantic from real device | Added device to Symphony | On Middle Atlantic web UI: 1. Change value of NextReplacementDate(MM/DD/YYYY) On Symphony: 2. Check the NextReplacementDate(MM/DD/YYYY) value of the device |  | The NextReplacementDate(MM/DD/YYYY) must be updated on the Symphony correctly | Un-test
TC_04 | Battery Status | NextReplacementDate(MM/DD/YYYY) | symphony | Validate the user can change NextReplacementDate(MM/DD/YYYY) of Middle Atlantic from device management | Added device to Symphony | On Symphony: 1. Go to Middle Atlantic device under test 2. Go to monitor tab of the device 3. Change value of NextReplacementDate(MM/DD/YYYY) On Middle Atlantic web UI: 4. Check the NextReplacementDate(MM/DD/YYYY) value of the device |  | The NextReplacementDate(MM/DD/YYYY) must be updated on the device correctly | Un-test
TC_05 | Outlet Control | CycleOutlet1 | Device | Validate the user can click on CycleOutlet1 button for Middle Atlantic from real device | Added device to Symphony | On Middle Atlantic web UI: 1. Click on CycleOutlet1 button 2. Validate the result |  | The CycleOutlet1 button works well | Un-test
TC_06 | Outlet Control | CycleOutlet1 | symphony | Validate the user can click on CycleOutlet1 button for Middle Atlantic from device management | Added device to Symphony | On Symphony: 1. Go to Middle Atlantic device under test 2. Go to monitor tab of the device 3. Click on CycleOutlet1 button 4. Validate the result |  | The CycleOutlet1 button works well | Un-test
TC_07 | Outlet Control | CycleOutlet2 | Device | Validate the user can click on CycleOutlet2 button for Middle Atlantic from real device | Added device to Symphony | On Middle Atlantic web UI: 1. Click on CycleOutlet2 button 2. Validate the result |  | The CycleOutlet2 button works well | Un-test
TC_08 | Outlet Control | CycleOutlet2 | symphony | Validate the user can click on CycleOutlet2 button for Middle Atlantic from device management | Added device to Symphony | On Symphony: 1. Go to Middle Atlantic device under test 2. Go to monitor tab of the device 3. Click on CycleOutlet2 button 4. Validate the result |  | The CycleOutlet2 button works well | Un-test
TC_09 | Outlet Control | CycleOutlet3 | Device | Validate the user can click on CycleOutlet3 button for Middle Atlantic from real device | Added device to Symphony | On Middle Atlantic web UI: 1. Click on CycleOutlet3 button 2. Validate the result |  | The CycleOutlet3 button works well | Un-test
TC_10 | Outlet Control | CycleOutlet3 | symphony | Validate the user can click on CycleOutlet3 button for Middle Atlantic from device management | Added device to Symphony | On Symphony: 1. Go to Middle Atlantic device under test 2. Go to monitor tab of the device 3. Click on CycleOutlet3 button 4. Validate the result |  | The CycleOutlet3 button works well | Un-test
TC_11 | Outlet Control | CycleOutlet4 | Device | Validate the user can click on CycleOutlet4 button for Middle Atlantic from real device | Added device to Symphony | On Middle Atlantic web UI: 1. Click on CycleOutlet4 button 2. Validate the result |  | The CycleOutlet4 button works well | Un-test
TC_12 | Outlet Control | CycleOutlet4 | symphony | Validate the user can click on CycleOutlet4 button for Middle Atlantic from device management | Added device to Symphony | On Symphony: 1. Go to Middle Atlantic device under test 2. Go to monitor tab of the device 3. Click on CycleOutlet4 button 4. Validate the result |  | The CycleOutlet4 button works well | Un-test
TC_13 | Outlet Control | CycleOutlet5 | Device | Validate the user can click on CycleOutlet5 button for Middle Atlantic from real device | Added device to Symphony | On Middle Atlantic web UI: 1. Click on CycleOutlet5 button 2. Validate the result |  | The CycleOutlet5 button works well | Un-test
TC_14 | Outlet Control | CycleOutlet5 | symphony | Validate the user can click on CycleOutlet5 button for Middle Atlantic from device management | Added device to Symphony | On Symphony: 1. Go to Middle Atlantic device under test 2. Go to monitor tab of the device 3. Click on CycleOutlet5 button 4. Validate the result |  | The CycleOutlet5 button works well | Un-test
TC_15 | Outlet Control | CycleOutlet6 | Device | Validate the user can click on CycleOutlet6 button for Middle Atlantic from real device | Added device to Symphony | On Middle Atlantic web UI: 1. Click on CycleOutlet6 button 2. Validate the result |  | The CycleOutlet6 button works well | Un-test
TC_16 | Outlet Control | CycleOutlet6 | symphony | Validate the user can click on CycleOutlet6 button for Middle Atlantic from device management | Added device to Symphony | On Symphony: 1. Go to Middle Atlantic device under test 2. Go to monitor tab of the device 3. Click on CycleOutlet6 button 4. Validate the result |  | The CycleOutlet6 button works well | Un-test
TC_17 | Outlet Control | CycleOutlet7 | Device | Validate the user can click on CycleOutlet7 button for Middle Atlantic from real device | Added device to Symphony | On Middle Atlantic web UI: 1. Click on CycleOutlet7 button 2. Validate the result |  | The CycleOutlet7 button works well | Un-test
TC_18 | Outlet Control | CycleOutlet7 | symphony | Validate the user can click on CycleOutlet7 button for Middle Atlantic from device management | Added device to Symphony | On Symphony: 1. Go to Middle Atlantic device under test 2. Go to monitor tab of the device 3. Click on CycleOutlet7 button 4. Validate the result |  | The CycleOutlet7 button works well | Un-test
TC_19 | Outlet Control | CycleOutlet8 | Device | Validate the user can click on CycleOutlet8 button for Middle Atlantic from real device | Added device to Symphony | On Middle Atlantic web UI: 1. Click on CycleOutlet8 button 2. Validate the result |  | The CycleOutlet8 button works well | Un-test
TC_20 | Outlet Control | CycleOutlet8 | symphony | Validate the user can click on CycleOutlet8 button for Middle Atlantic from device management | Added device to Symphony | On Symphony: 1. Go to Middle Atlantic device under test 2. Go to monitor tab of the device 3. Click on CycleOutlet8 button 4. Validate the result |  | The CycleOutlet8 button works well | Un-test
TC_21 | Outlet Control | Outlet1 | Device | Validate the user can turn ON/OFF Outlet1 of Middle Atlantic from real device | Added device to Symphony | On Middle Atlantic web UI: 1. Go to Device page 2. Switch the Outlet1 button to OFF On Symphony: 3. Check the Outlet1 value of the device On Middle Atlantic web UI: 4. Switch the Outlet1button to ON On Symphony: 5. Check the Outlet1of the device |  | The Outlet1 is a switch button and must be updated on the Symphony correctly | Un-test
TC_22 | Outlet Control | Outlet1 | symphony | Validate the user can turn ON/OFF Outlet1 of Middle Atlantic from device management | Added device to Symphony | On Symphony: 1. Go to Middle Atlantic device under test 2. Go to monitor tab of the device 3. Switch the Outlet1 button to OFF On Middle Atlantic web UI: 4. Check the Outlet1 value of the device On Symphony: 5. Switch the Outlet1button to ON 6. ON the Outlet1 7. Check the Outlet1of the device |  | The Outlet1 is a switch button and must be updated on the device correctly | Un-test
TC_23 | Outlet Control | Outlet2 | Device | Validate the user can turn ON/OFF Outlet2 of Middle Atlantic from real device | Added device to Symphony | On Middle Atlantic web UI: 1. Go to Device page 2. Switch the Outlet2 button to OFF On Symphony: 3. Check the Outlet2 value of the device On Middle Atlantic web UI: 4. Switch the Outlet2button to ON On Symphony: 5. Check the Outlet2of the device |  | The Outlet2 is a switch button and must be updated on the Symphony correctly | Un-test
TC_24 | Outlet Control | Outlet2 | symphony | Validate the user can turn ON/OFF Outlet2 of Middle Atlantic from device management | Added device to Symphony | On Symphony: 1. Go to Middle Atlantic device under test 2. Go to monitor tab of the device 3. Switch the Outlet2 button to OFF On Middle Atlantic web UI: 4. Check the Outlet2 value of the device On Symphony: 5. Switch the Outlet2button to ON 6. ON the Outlet2 7. Check the Outlet2of the device |  | The Outlet2 is a switch button and must be updated on the device correctly | Un-test
TC_25 | Outlet Control | Outlet3 | Device | Validate the user can turn ON/OFF Outlet3 of Middle Atlantic from real device | Added device to Symphony | On Middle Atlantic web UI: 1. Go to Device page 2. Switch the Outlet3 button to OFF On Symphony: 3. Check the Outlet3 value of the device On Middle Atlantic web UI: 4. Switch the Outlet3button to ON On Symphony: 5. Check the Outlet3of the device |  | The Outlet3 is a switch button and must be updated on the Symphony correctly | Un-test
TC_26 | Outlet Control | Outlet3 | symphony | Validate the user can turn ON/OFF Outlet3 of Middle Atlantic from device management | Added device to Symphony | On Symphony: 1. Go to Middle Atlantic device under test 2. Go to monitor tab of the device 3. Switch the Outlet3 button to OFF On Middle Atlantic web UI: 4. Check the Outlet3 value of the device On Symphony: 5. Switch the Outlet3button to ON 6. ON the Outlet3 7. Check the Outlet3of the device |  | The Outlet3 is a switch button and must be updated on the device correctly | Un-test
TC_27 | Outlet Control | Outlet4 | Device | Validate the user can turn ON/OFF Outlet4 of Middle Atlantic from real device | Added device to Symphony | On Middle Atlantic web UI: 1. Go to Device page 2. Switch the Outlet4 button to OFF On Symphony: 3. Check the Outlet4 value of the device On Middle Atlantic web UI: 4. Switch the Outlet4button to ON On Symphony: 5. Check the Outlet4of the device |  | The Outlet4 is a switch button and must be updated on the Symphony correctly | Un-test
TC_28 | Outlet Control | Outlet4 | symphony | Validate the user can turn ON/OFF Outlet4 of Middle Atlantic from device management | Added device to Symphony | On Symphony: 1. Go to Middle Atlantic device under test 2. Go to monitor tab of the device 3. Switch the Outlet4 button to OFF On Middle Atlantic web UI: 4. Check the Outlet4 value of the device On Symphony: 5. Switch the Outlet4button to ON 6. ON the Outlet4 7. Check the Outlet4of the device |  | The Outlet4 is a switch button and must be updated on the device correctly | Un-test
TC_29 | Outlet Control | Outlet5 | Device | Validate the user can turn ON/OFF Outlet5 of Middle Atlantic from real device | Added device to Symphony | On Middle Atlantic web UI: 1. Go to Device page 2. Switch the Outlet5 button to OFF On Symphony: 3. Check the Outlet5 value of the device On Middle Atlantic web UI: 4. Switch the Outlet5button to ON On Symphony: 5. Check the Outlet5of the device |  | The Outlet5 is a switch button and must be updated on the Symphony correctly | Un-test
| Outlet Control | Outlet5 | symphony | Validate the user can turn ON/OFF Outlet5 of Middle Atlantic from device management | Added device to Symphony | On Symphony: 1. Go to Middle Atlantic device under test 2. Go to monitor tab of the device 3. Switch the Outlet5 button to OFF On Middle Atlantic web UI: 4. Check the Outlet5 value of the device On Symphony: 5. Switch the Outlet5button to ON 6. ON the Outlet5 7. Check the Outlet5of the device |  | The Outlet5 is a switch button and must be updated on the device correctly | Un-test
| Outlet Control | Outlet6 | Device | Validate the user can turn ON/OFF Outlet6 of Middle Atlantic from real device | Added device to Symphony | On Middle Atlantic web UI: 1. Go to Device page 2. Switch the Outlet6 button to OFF On Symphony: 3. Check the Outlet6 value of the device On Middle Atlantic web UI: 4. Switch the Outlet6button to ON On Symphony: 5. Check the Outlet6of the device |  | The Outlet6 is a switch button and must be updated on the Symphony correctly | Un-test
| Outlet Control | Outlet6 | symphony | Validate the user can turn ON/OFF Outlet6 of Middle Atlantic from device management | Added device to Symphony | On Symphony: 1. Go to Middle Atlantic device under test 2. Go to monitor tab of the device 3. Switch the Outlet6 button to OFF On Middle Atlantic web UI: 4. Check the Outlet6 value of the device On Symphony: 5. Switch the Outlet6button to ON 6. ON the Outlet6 7. Check the Outlet6of the device |  | The Outlet6 is a switch button and must be updated on the device correctly | Un-test
| Outlet Control | Outlet7 | Device | Validate the user can turn ON/OFF Outlet7 of Middle Atlantic from real device | Added device to Symphony | On Middle Atlantic web UI: 1. Go to Device page 2. Switch the Outlet7 button to OFF On Symphony: 3. Check the Outlet7 value of the device On Middle Atlantic web UI: 4. Switch the Outlet7button to ON On Symphony: 5. Check the Outlet7of the device |  | The Outlet7 is a switch button and must be updated on the Symphony correctly | Un-test
| Outlet Control | Outlet7 | symphony | Validate the user can turn ON/OFF Outlet7 of Middle Atlantic from device management | Added device to Symphony | On Symphony: 1. Go to Middle Atlantic device under test 2. Go to monitor tab of the device 3. Switch the Outlet7 button to OFF On Middle Atlantic web UI: 4. Check the Outlet7 value of the device On Symphony: 5. Switch the Outlet7button to ON 6. ON the Outlet7 7. Check the Outlet7of the device |  | The Outlet7 is a switch button and must be updated on the device correctly | Un-test
| Outlet Control | Outlet8 | Device | Validate the user can turn ON/OFF Outlet8 of Middle Atlantic from real device | Added device to Symphony | On Middle Atlantic web UI: 1. Go to Device page 2. Switch the Outlet8 button to OFF On Symphony: 3. Check the Outlet8 value of the device On Middle Atlantic web UI: 4. Switch the Outlet8button to ON On Symphony: 5. Check the Outlet8of the device |  | The Outlet8 is a switch button and must be updated on the Symphony correctly | Un-test
| Outlet Control | Outlet8 | symphony | Validate the user can turn ON/OFF Outlet8 of Middle Atlantic from device management | Added device to Symphony | On Symphony: 1. Go to Middle Atlantic device under test 2. Go to monitor tab of the device 3. Switch the Outlet8 button to OFF On Middle Atlantic web UI: 4. Check the Outlet8 value of the device On Symphony: 5. Switch the Outlet8button to ON 6. ON the Outlet8 7. Check the Outlet8of the device |  | The Outlet8 is a switch button and must be updated on the device correctly | Un-test

## Overall
Overall Results
Test Cases | 67
Not Run | 79
Tests Executed | -12
Test Passed | 0
Test Conditional-Pass | 0
Tests Failed | 0
Blocked | 0
N/A | 0
Pass Rate | 0%
% Tests executed | -17.91%
% Tests passed | 0%